Your setup runs polling through the dispatcher container (telequill_dispatcher, set by SIDECAR_DISPATCHER=1 in compose.yml). So the cron file in dist/librenms.cron doesn't control polling here. The interval comes from these settings. The defaults are 300 seconds, which is 5 minutes:

Setting

Default

For 1-minute polling

service_poller_frequency

300

60

rrd.step

300

60

rrd.heartbeat

600

120

The examples below use 1 minute. For 2 minutes use 120 / 120 / 240.

Option A: CLI (recommended)

Run these from the folder that has compose.yml (examples/compose):

# 1. Set the poller interval and the RRD step

docker exec -it -u librenms telequill lnms config:set service_poller_frequency 60

docker exec -it -u librenms telequill lnms config:set rrd.step 60

docker exec -it -u librenms telequill lnms config:set rrd.heartbeat 120

# 2. Convert existing RRD files to the new step (required, or graphs break or show gaps)

#    Back up the rrd folder first

docker exec -it -u librenms telequill php /opt/librenms/scripts/rrdstep.php -h all

# 3. Restart the dispatcher so it picks up the new interval

docker restart telequill_dispatcher

# 4. Check the values

docker exec -it -u librenms telequill lnms config:get service_poller_frequency

docker exec -it -u librenms telequill lnms config:get rrd.step

Option B: GUI

Log in as admin and open Settings (gear icon) → Global Settings → Poller.

In the Dispatcher Service tab, set Poller Frequency to 60.

In the RRDTool tab, set Step to 60 and Heartbeat to 120.

The GUI can't convert the RRD files or restart the dispatcher, so you still need to run steps 2 and 3 from Option A:

docker exec -it -u librenms telequill php /opt/librenms/scripts/rrdstep.php -h all

docker restart telequill_dispatcher

Check that it works

docker logs -f telequill_dispatcher                          # polls should now happen every ~60s

docker exec -it -u librenms telequill lnms device:poll <hostname> -vv   # poll one device right away

In the GUI, open Settings → Poller → Poller and look at the "Last Polled" times.

Things to watch

Load: 1-minute polling is 5 times the load of 5-minute polling. Each round must finish in under 60 seconds. If it doesn't, raise the worker count (lnms config:set service_poller_workers 32) or keep 5 minutes for most devices.

The interval is global: it applies to all devices. You can't set it per device.

RRD conversion: always convert after changing rrd.step. If you skip it, old RRD files won't match the new step and graphs show gaps or flat lines.